**Town & River Lake Report**

**Inspection Date**: March 29, 2020

**Inspected for:**

|  |  |
| --- | --- |
| Algae | OK |
| Aquatic Weeds | Treated |
| Undesirable Shoreline Vegetation | OK |
| Water Quality | OK |

**Technician’s Comments:** Treated submerged vegetation throughout entire water body.

**FOLLOW UP:** On June 6th Solitude Lake responded to a request for service from Town & River Lake committee. A technician was sent to service the aeration.  It was discovered during service that an aerator was blown and will need to be replaced.  A replacement compressor is on order for installation.

