**Town & River Lake Report**

**Inspection Date**: Sept 21, 2023

**Inspected for:**

|  |  |
| --- | --- |
| Algae | OK |
| Aquatic Weeds | OK |
| Undesirable Shoreline Vegetation | OK |
| Water Quality | OK |

**Technician’s Comments:**

9/21/23: There were no algae or submerged in lake. Grasses were in good condition will continue to

monitor

10/11/23: All aerators were inspected and running well. Both stations running well. Cleaned and verified.

